# Development and Maintenance of Image R

#### Work Notes

## Design Bug – connect leafing of different files’ types – v1.4.9 – 20/12/21

When loading side-by-side different file types –

The default assumption should be that they should be leafing together.

And in this opportunity –

When jumping to a specific position – or to first or last – also update other positions…

#### Design for solution

Keep list of position objects –

Every object has a “level” in the multi-dimension scheme

Global flag for position synchronization

If position is set – update all positions of the same level

Add new class CPositionSync

#### Check different scenarios

Not every “set current” requires sync…

Loading new file should get the position of the previous files…

Check combinations of two dimensional files

Add “stop sync”

## Resume work of Coronal & Sagittal – v1.4.6 – 31/10/2021

There were some bugs due to other changes…

Now it seems to be working.

V1.4.6 released

## Adjustment to support client application – 19/10/21

Image Quality Review Application has to save ImageR state to wanted file destination…

## Add recent files support in menus 20/7/21

Save the recent files’ list in a text file near the application.

It seems to be working – commit version 1.4.1

Add different recent files for <File> and <Add> menus - later

## Create Dicom Files with any raster – 17-18/7/21

#### Design

Given current displayed raster

Select file with Dicom template

Make sure n-lines and n-cols is correct

Copy new raster –

What if new raster type is wrong?

## Working on minimal Dicom file – 17/7/21

I have DCM file with only 3 Dicom fields:

1 at 00000084:  G 0028 N 0010  Len        2 L    s 0x 08

2 at 0000008e:  G 0028 N 0011  Len        2 L     0x 86 08

3 at 00000098:  G 7fe0 N 0010  Len  9439332 L     0x 00 00 bb 03 e6 03 c1 03 bc 03 64 03 93 03 1e 04

(28,10) is “image rows”

(28,11) is “image columns”