# ImageR Leafing Issues

#### Work Notes

## Loading Again the Same Pattern – 26/1/2025

When loading again the same pattern – start a new “special position”.

Currently the situation is identified but response is nuts

#### First check set of directories, each with Dicom series

First loaded file gets 2D leafing with pattern:

<pattern> H:\Best Phase\Results_Segmentation\SCANPLAN_280 - Exam 8_MBAF2\%02d\I%05d.dcm </pattern>

Secon loaded file gets only local volume – which is good:

<pattern> H:\Best Phase\Results_Segmentation\SCANPLAN_280 - Exam 8_MBAF2\50\I%05d.dcm </pattern>